## Slide 1: R.C.D.
Residual Current Device
Known by these Capital Letters

## Slide 2
TEST SWITCH
Test at least once a month
Trigger current

## Slide 3
A safety device
Automatically trips when sufficient current (e.g. 30mA) flows in the Earth path.
A circuit breaker (e.g. I>40A)
Functions

## Slide 4: How RD works
http://www.explainthatstuff.com/howrcdswork.html

## Slide 5: How RD works
http://www.explainthatstuff.com/howrcdswork.html

## Slide 8
Which ones are RCD ? Which ones are Circuit Breaker ?
Live wires
Neutral wires
Earth wires

## Slide 9: END