## Slide 1
Section 6
Installation Test Documentation

## Slide 2
The WA Electricity (Licensing) Regulations 1991 require an electrical contractor to submit a Preliminary Notice at least 3 working days before Notifiable electrical installing work is commenced, and a Notice of Completion within 3 days of completion of the electrical work.
It is important to document design and installation details so that they can be traced back to their source in the event of a query at some time in the future.

## Slide 3
“Notifiable work” means electrical installing work other than:
a) maintenance work, unless that work requires the disconnection and reconnection of the supply of
electricity to the electrical installation concerned or the replacement of service apparatus;
b) the alteration of a final sub-circuit; or
c) the addition of a single final sub-circuit

## Slide 4
Preliminary Notice (Green Border)

## Slide 5
Notice of Completion (Yellow Border)

## Slide 6
Installation Test Certificate
The Installation test certificate is to be completed by the electrician responsible for the testing and checking of the electrical Installation and fixed inside the meter enclosure.

## Slide 7
Electrical Safety Certificate
An electrical safety certificate must also be completed by the electrical contractor for ALL electrical Installing work (both notifiable and non-notifiable work).
The certificate is to be provided to the person for whom the work was carried out within 28 days of completion of the work

## Slide 8
Electrical Safety Certificate

## Slide 9
THE END