## Slide 1
Section 7
Installation Commissioning

## Slide 2
Commissioning of an electrical installation is the process of systematically checking to ensure that it allows for safe operation, and that all components will operate as intended and according to specifications under all anticipated operating conditions.
The electrical contractor is responsible for ensuring that all commissioning procedures have been carried out.

## Slide 3
Personnel carrying out commissioning must be aware of the following:
All occupational health and safety policies
Work clearance procedures
Isolation procedures
Gas and vapour precautions, monitoring/testing procedures
Use of protective equipment and clothing
Risk assessment mechanisms and
Use of codes of practice

## Slide 4
In larger installations commissioning is usually carried out using a pre-prepared checklist. Items to be checked include:
Voltage Levels
Phase Rotation at outlets
Electric motor direction
RCD check
Isolating devices

## Slide 5
Lighting operation
Power outlet operation
Apparatus operation
Fire Alarm systems
Emergency lighting
Data services
Signage
Safety Interlocks

## Slide 6
THE END